## Architectural MTO (Panel)
Contract No.: 2024-060-Altrad Kitchen Module Arch EPC | [15 empty] | Lead Time |  |  |  |  | Revision: 6
Document Title: Material Take Off (Panel) | [15 empty] | Dated: 17/01/2025 |  |  |  |  | Date: 17/02/2025
Sl.No | Discipline | System | Sub-System | Wall Fire Rating | Screenshots from Datasheets |  | Item Description | Unit | Quantity | Quantity with 20% Contingency | Document Reference | Unit Cost (USD) | Total Sale (USD) | Unit Hours | Total Hours | Procurement Date | Manufacturing Lead Time (Days) | Dispatch Date | Transit Time (Days) | Esimated Arrival Date | Remarks
| Discipline | System | Sub-System | Wall Fire Rating | Wall Fire Rating |  | Item Description | Unit | Quantity | Quantity with 10% Contingency | Document Reference |  |  | Unit Hours | Total Hours | [5 empty] | Remarks/Notes
Panelling
1 | Architectural | Panelling | Masterboard | B0 | #VALUE! | #VALUE! | 12.7mm thick B0 wall panel |  |  |  | C1849TSLQPA0001_Specification TECHNICAL SPECIFICATION FOR STORAGE ROOMS (ARCHITECTURE) | For Reference Only. | [8 empty] | (Totalling 36 Panels total with 20% Contingency)
2 | Architectural | Panelling | Masterboard | B0 | #VALUE! | #VALUE! | 12.7mm thick B0 ceiling panel |  |  |  |  | For Reference Only.
3 | Architectural | Panelling | Masterboard | B0 | #VALUE! | #VALUE! | 12.7mm thick B0 underdeck panel |  |  |  |  | For Reference Only.
1 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 20 x 20 x 1.2mm bottom angle for wall support | lm | 23 | 28 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Quantity provided is the linear metre dimensions of the overall support.
2 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 50 x 20 x 1.2mm top angle for wall support | lm | 23 | 28 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Quantity provided is the linear metre dimensions of the overall support.
3 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 40 x 20mm U main channel for ceiling | Nos | 15 | 18 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Comes in 2500 length
4 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 40 x 20mm U main channel for walls | Nos | 12 | 15
5 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 40 x 20mm U main channel for underdeck | Nos | 17 | 21
6 | Architectural | Panelling | Accessories |  | #VALUE! | #VALUE! | 55mm M6 Spindle Bolt c/w Nyloc Nut | Nos | 100 | 120
7 | Architectural | Panelling | Accessories |  | #VALUE! |  | PC-105 Pre-drilled channel c/w 2 screws | Nos | 100 | 120
8 | Architectural | Panelling | Accessories |  | #VALUE! |  | HB-40 Hanger Bracket | Nos | 100 | 120
9 | Architectural | Panelling | Accessories |  | #VALUE! |  | UN-15 'U' - nut c/w locking screw | Nos | 100 | 120
10 | Architectural | Panelling | Accessories |  | #VALUE! |  | Anti-vibration gasket | Nos | 138 | 166
11 | Architectural | Panelling | Accessories |  | #VALUE! | #VALUE! | 55mm M6 Spindle Bolt c/w Nyloc Nut (Stainless Steel SS 316) | Nos | 38 | 46
12 | Architectural | Panelling | Accessories |  | #VALUE! |  | PC-105 Pre-drilled channel c/w 2 screws (Stainless Steel SS 316) | Nos | 38 | 46
13 | Architectural | Panelling | Accessories |  | #VALUE! |  | HB-40 Hanger Bracket (Stainless Steel SS 316) | Nos | 38 | 46
14 | Architectural | Panelling | Accessories |  | #VALUE! |  | UN-15 'U' - nut c/w locking screw (Stainless Steel SS 316) | Nos | 38 | 46
15 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 228 x 25 x 25mm Hanger Angle for walls | Nos | 48 | 58
16 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 163 x 25 x 25mm Hanger Angle for ceiling | Nos | 52 | 63
17 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 125 x 25 x 25mm Hanger Angle for underdeck (Stainless steel) | Nos | 38 | 46
18 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | 38 x 2mm thk. solid spline | Nos | 7 | 9 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20
19 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | PA-5-B equal angle for corner wall panel | Nos | 12 | 15
20 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | PA-10-B equal angle for corner wall panel | Nos | 11 | 14
21 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | PA-5-B equal angle for corner wall panel (Stainless steel) | Nos | 14 | 17 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Comes in 2500 length
22 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | PA-10-B equal angle for corner wall panel (Stainless Steel) | Nos | 14 | 17 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Comes in 2500 length
23 | Architectural | Panelling | Accessories | - | #VALUE! | #VALUE! | Perimeter Channel (2500mm L) | Nos | 7 | 9 | [5 empty] | 2025-01-20 | 0 | 2025-01-20 | 0 | 2025-01-20 | Comes in 2500 length
[7 empty] | Shipping | Lot | 1 | 1 | - |  | 0
[7 empty] | Overall Total | [5 empty] | 0 |  | 0
3
Formulas:
Dispatch Date = [Procurement Date]+[Manufacturing Lead Time (Days)]
Esimated Arrival Date = [Dispatch Date]+[Transit Time (Days)]